## Overall Total
This document supports the Developer Services Charging Arrangements 2023/24 |  |  |  | https://www.southwestwater.co.uk/siteassets/documents/dev-services/charges-2023-24/charging-arrangements-23_24_v1.1_publish.pdf
Developer Services - 2023/24 Charging Arrangements |  |  | Version No 1
| Total | Contestable | Non-Contestable | Page No
Pre-Planning | 0 | 0 | 0 | 11
Clean Water Scheme (S41) | 0 | 0 | 0 | 19
Self Lay Scheme (S51) | 0 | 0 | 0 | 16
New Water Connection (S45) | 0 | 0 | 0 | 30
Sewer Adoption (S104) | 0 | 0 | 0 | 42
Sewer Adoption (S102) |  |  |  | 42
Sewer Requisition (S98) | 0 | 0 | 0 | 46
Sewer Diversion (S185) | 0 | 0 | 0 | 56
Sewer Connection (S106) | 0 | 0 | 0 | 53
Build Over | 0 | N/A | 0 | 58
Infrastructure Charges | 0 | N/A | 0 | 59
Income Offsets | 0 | N/A | 0 | 66
Enviornmental Incentives | 0 | N/A | 0 | 68
Total | 0 | 0 | 0
Please make sure that any cell that is coloured has had a rate put into if you want to use it.
VAT - none of the above numbers include VAT. VAT will be added as appropriate on the quotation
Legal Disclaimer
1. This self-service budget estimate calculator (the “Calculator”) has been developed to allow users to generate an estimate charge for connection services (the “Estimate Charge”) based on their selected requirements.
2. The Estimate Charge is intended to provide a reasonable estimate and may vary based on the accuracy of the user’s selected requirements and changes to their development parameters. For the avoidance of doubt, the Estimate Charge does not constitute a formal quotation.
3. The individual service connection charges are valid from 1 April to 31 March for each relevant year and are subject to annual review on 1 April. All charges exclude VAT.
4. The user acknowledge that the use of the Calculator shall not obviate any consent required by the user for its development(s). South West Water accept no responsibility for any planning authority consent(s) required by the user for its development(s).
5. Any reliance by the user on South West Water records to determine their requirements for the purpose of this Estimate Charge shall also be subject to those relevant disclaimers.
6. There may be certain circumstances where the Estimate Charge is not appropriate due to external factors outside our control or knowledge which may have an impact on these charges.

## Pre-planning
PRE-PLANNING
No. | Description | Value | Contestable/Non contestable | No | Total | Page No | Notes
PD2 | Point of connection enquiry – Clean Water | 126 | Contestable |  | 0 | 11
PD3 | Point of connection enquiry – Foul Sewer | 126 | Contestable |  | 0 | 11
PD4 | Validation Charge | 38 | Non - contestable |  | 0 | 11
| Total |  |  |  | 0

## Clean Water Requisition
WATER REQUISITIONS
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
WR1 | Administration Fee (Water Requisition/Water Diversion) | Per scheme | 1984 | Non-contestable |  | 0 | 19
WR2 | Connection of new main to existing main excluding Band A (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and underpressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main) | Per Diverted main | 11508 | Non-contestable |  | 0 | 19 | Diversion only - per diverted main
WR3 | Connection of new main to existing main excluding excavation and reinstatement Band B (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and under-pressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main. ) | Per Diverted main | 12692 | Non-contestable |  | 0 | 19 | Diversion only - per diverted main
WR4 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band A (diameter of new main) where the connection is to an existing water distribution system This connection is made using under-pressure tee only | Per connection | 1321 | Non-contestable |  | 0 | 19
WR5 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band B(diameter of new main) where the connection is to an existing water distribution systems. The connection is made using under-pressure tee only | Per connection | 1434 | Non-contestable |  | 0 | 19
WR6 | Design of scheme | Per scheme | 1515 | Contestable |  | 0 | 19
WR7 | Changes to design by the Developer/SLP following provision of quotation. (£230 up to £1515.00) | Per change | 0 | Contestable |  | 0 | 19 | Up to £1,515 depending on work required with a minimum charge of £230.00
WR8A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band A | Per metre | 64 | Contestable |  | 0 | 19
WR9A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band A | Per metre | 119 | Contestable |  | 0 | 19
WR8B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band B | Per metre | 88 | Contestable |  | 0 | 19
WR9B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band B | Per metre | 156 | Contestable |  | 0 | 19
WR10 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 134 | Contestable |  | 0 | 19
WR11 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 195 | Contestable |  | 0 | 19
WR12 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 238 | Contestable |  | 0 | 19
WR13 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 326 | Contestable |  | 0 | 19
WR14 | Additional commissioning of sections should it not be done in accordance with the quotation. | Per commissioning | 2685 | Contestable |  | 0 | 19 | Bespoke on application.
WR15 | Third party Compensation | Per scheme |  | Contestable |  | 0 | 19 | Bespoke on application.
WR16 | Ecological etc. | Per scheme |  | Contestable |  | 0 | 19 | Bespoke on application.
WR17 | Traffic Management | Per scheme |  | Contestable |  | 0 | 19
| Total |  |  |  |  | 0

## Self Lay Water Main
SELF LAY WATER MAINS
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
SL1 | Administration Fee (Self Lay) | Per scheme | 681 | Non-contestable |  | 0 | 16
SL2 | Vetting of design and approval undertaken by 3rd party. Third party must be accredited through WIRS. | Per scheme | 221 | Non-contestable |  | 0 | 16
WR2 | Connection of new main to existing main excluding Band A (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and underpressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main) | Per Diverted main | 11508 | Non-contestable |  | 0 | 16 | Diversion only - per diverted main
WR3 | Connection of new main to existing main excluding excavation and reinstatement Band B (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and under-pressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main. ) | Per Diverted main | 12692 | Non-contestable |  | 0 | 16 | Diversion only - per diverted main
WR4 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band A (diameter of new main) where the connection is to an existing water distribution system This connection is made using under-pressure tee only | Per connection | 1321 | Non-contestable |  | 0 | 16
WR5 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band B(diameter of new main) where the connection is to an existing water distribution systems. The connection is made using under-pressure tee only | Per connection | 1434 | Non-contestable |  | 0 | 16
WR6 | Design of scheme | Per scheme | 1515 | Contestable |  | 0 | 16
WR7 | Changes to design by the Developer/SLP following provision of quotation. (£230 up to £1515.00) | Per change |  | Contestable |  | 0 | 16 | Up to £1,515 depending on work required with a minimum charge of £230.00
WR8A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band A | Per metre | 64 | Contestable |  | 0 | 16
WR9A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band A | Per metre | 119 | Contestable |  | 0 | 16
WR8B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band B | Per metre | 88 | Contestable |  | 0 | 16
WR9B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band B | Per metre | 156 | Contestable |  | 0 | 16
WR10 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 134 | Contestable |  | 0 | 16
WR11 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 195 | Contestable |  | 0 | 16
WR12 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 238 | Contestable |  | 0 | 16
WR13 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 326 | Contestable |  | 0 | 16
WR14 | Additional commissioning of sections should it not be done in accordance with the quotation. | Per commissioning | 2685 | Contestable |  | 0 | 16
WR15 | Third party Compensation | Per scheme |  | Contestable |  | 0 | 16 | Bespoke on application.
WR16 | Ecological etc. | Per scheme |  | Contestable |  | 0 | 16 | Bespoke on application.
WR17 | Traffic Management | Per scheme |  | Contestable |  | 0 | 16 | Bespoke on application.
| Total |  |  |  |  | 0

## New Connection
NEW CONNECTION
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
Application Fee
NC1 | Application fee – Self Laid Connection | Per Application | 16 | Non-contestable |  | 0 | 30
NC2 | Application fee – Company Laid Onsite Connection | Per Application | 16 | Non-contestable |  | 0 | 30
NC3 | Application fee – Company Laid Offsite Connection | Per Application | 151 | Non-contestable |  | 0 | 30
Administration Fee
NC4 | Administration fee – Self-Laid Connections | Per Connection | 30 | Non-contestable |  | 0 | 30
NC5 | Administration fee – Company Laid Onsite Connection | Per Connection | 42 | Non-contestable |  | 0 | 30
NC6 | Administration fee – Company Laid Offsite Connection | Per Connection | 42 | Non-contestable |  | 0 | 30
Connection only
NC7A | For 1st standard connection only up to and including 32mm diameter | Per Connection | 193 | Contestable |  | 0 | 30
NC9A | For 1st barrier connection only up to and including 32mm diameter | Per Connection | 272 | Contestable |  | 0 | 30
NC12 | Connection(s) greater than 32mm and up to and including 63mm - Standard | Per Connection | 930 | Contestable |  | 0 | 30
NC12B | Connection(s) greater than 32mm and up to and including 63mm - Barrier | Per connection | 1174 | Contestable |  | 0 | 30
NC13 | Connection(s) greater than 63mm and less than 100mm | Per connection | 1475 | Non-contestable |  | 0 | 30
NC13B | Barrier Connection(s) greater than 63mm and less than 100mm | Per connection | 1928 | Non-contestable |  | 0 | 30
NC14 | Connection(s) 100mm and greater | Per connection | 1859 | Non-contestable |  | 0 | 30
NC14B | Barrier Connection(s) 100mm and greater - | Per connection | 2312 | Non-contestable |  | 0 | 30
NC15 | Supply and Fit AMR meter only (meter screw in – no connection) | Per Meter | 97 | Contestable |  | 0 | 30
NC16 | Boundary Box replacement | Per box | 425 | Contestable |  | 0 | 30
Offsite connection - Company laid connection
NC17A | Standard connections up to 32mm diameter and trench work up to 2m in length | Per connection | 1732 | Contestable |  | 0 | 30
NC17B | Barrier connections up to 32mm diameter and trench work up to 2m in length | Per connection | 1966 | Contestable |  | 0 | 30
NC18A | In addition to the first connection up 32mm diameter up to four further 25mm/32mm service pipes may be laid in the same trench and connected on the same date as the first connection. Charge covers up to 2m in length. Per meterage rate shall be applied for additional connections greater than 2m in length | Per box | 307 | Contestable |  | 0 | 30
NC18B | Barrier - In addition to the first connection up 32mm diameter up to four further 25mm/32mm service pipes may be laid in the same trench and connected on the same date as the first connection. Charge covers up to 2m in length. Per meterage rate shall be applied for additional connections greater than 2m in length | Per connection | 401 | Non-contestable |  | 0 | 30
NC19A | Non-standard connections greater than 32mm and up to 63mm diameter and trench work up to 2mm in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 2655 | Contestable |  | 0 | 30
NC19B | Barrier Non-standard connections greater than 32mm and up to 63mm diameter and trench work up to 2mm in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 2968 | Contestable |  | 0 | 30
NC20A | Non-standard connections greater than 63mm and up to 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3153 | Contestable |  | 0 | 30
NC20B | Barrier Non-standard connections greater than 63mm and up to 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3697 | Contestable |  | 0 | 30
NC21 | Non-standard connections greater than 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3461 | Contestable |  | 0 | 30
NC21B | Barrier Non-standard connections greater than 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 4014 | Contestable |  | 0 | 30
NC23 | Connections greater than 2m in length In addition to each relevant offsite connection charge (above) an extra over charge for each metre greater than 2m, by surface type and diameter: Pre-excavated – up to 90mm diameter | Per connection | 129 | Non-contestable |  | 0 | 30
NC24 | Unmade surface – up to 90mm diameter | Per connection | 163 | Non-contestable |  | 0 | 30
NC25 | Made surface – up to 90mm diameter | Per connection | 275 | Non-contestable |  | 0 | 30
NC26 | Pre-excavated – greater than 90mm diameter | Per connection | 197 | Non-contestable |  | 0 | 30
NC27 | Unmade surface – greater than 90mm diameter | Per metre | 238 | Contestable |  | 0 | 30
NC28 | Made surface – greater than 90mm diameter | Per metre | 356 | Contestable |  | 0 | 30
Additional charges
NC22 | Water regulations inspection | Per connection | 27 | Non-contestable |  | 0 | 30
NC11 | Where we attend to make a pre-booked connection but the site is not ready for connection | Per Connection | 114 | Non-contestable |  | 0 | 30
n/a | Where a customer cancels or postpones a connection all third party costs incurred will be payable by the applicant. | Per connection | 0 | Non-contestable |  | 0 | 30 | Actual cost
NC3b | Second and subsequent site survey/visit and/or updated quotation (offsite connections only) | Per Survey/visit | 122 | Non-contestable |  | 0 | 30
NC2b | Where a customer requests a copy invoice, proforma invoice, copy of existing quotte (onsite or offsite) and/or updated onsite quote | Per item | 12 | Non-contestable |  | 0 | 30
| Total |  |  |  |  | 0

## Sewer Adoption
SEWER ADOPTION
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
SA1 | Admin Fee | Per application | 489 | Non-contestable |  | 0 | 42
SA2 | Technical Vetting Fee without PS | Per property with a minimum fee £375.25 | 19 | Non-contestable |  | 0 | 42 | Minimum fee £375.25
SA3 | Technical Vetting Fee with PS | Per property with a minimum fee £980 | 24 | Non-contestable |  | 0 | 42 | Minimum fee £980
SA4 | Inspection Fee | Per property with a minimum fee.£980 | 52 | Non-contestable |  | 0 | 42 | Minimum fee £980
SA5 | Re-submissions for technical review | Per additional review | 367 | Non-contestable |  | 0 | 42
SA6 | Re-inspections following remedials | Per inspection | 204 | Non-contestable |  | 0 | 42
SA9 | Installation and commissioning of Telemtry use Radio/4G | Per installation | 6001 | Contestable |  | 0 | 42
SA10 | Installation and commissioning of Telemtry use Radio/PSTN | Per installation | 7036 | Contestable |  | 0 | 42
SA11 | Installation and commissioning of Telemtry use PSTN/4G | Per installation | 5328 | Contestable |  | 0 | 42
SA12 | Installation and commissioning of Telemtry use 4G only (based on no option to provide a primary solution with back up comms i.e. radio and PSTN are not available. | Per installation | 4289 | Contestable |  | 0 | 42
| Total |  |  |  |  | 0
| Security | Per scheme | 10% of construction costs | Non-contestable |  |  | 42

## Sewer Requisition
SEWER REQUISITION
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
SR1 | Administration Fee | Per scheme | 1984 | Non-contestable |  | 0 | 46
SR2 | Design of Connections to the public sewer network that may heighten the risk of damage to existing assets, or compromise public health and/or the environment. | Per connection |  | Non-contestable |  | 0 | 46 | Bespoke on application
SR3 | Connections to the public sewer network that may heighten the risk of damage to existing assets, or compromise public health and/or the environment. | Per connection |  | Non-contestable |  | 0 | 46 | Bespoken on application
SR4 | Connections to the public sewer that involve man-entry to live operational assets that necessitate special precautions to control H&S hazards (such as in combined sewers with a rapid response to rainfall). | Per connection |  | Non-contestable |  | 0 | 46 | Bespoke on application
SR5 | Design of scheme | Per scheme | 5245 | Contestable |  | 0 | 46
SR6 | Changes to design by the Developer/consultant following provision of quotation. | Per change |  | Contestable |  | 0 | 46 | Minimum of £250 up to a maximum £4,500
SR7 | Pipelaying in made ground in land not owned or occupied by the Developer. | Per metre | 1049 | Contestable |  | 0 | 46
SR8 | Pipelaying in unmade ground per metre in land not owned or occupied by the Developer. | Per metre | 1049 | Contestable |  | 0 | 46
SR9 | Third party compensation | Per scheme |  | Contestable |  | 0 | 46 | Bespoke on application
SR10 | Ecological etc. | Per scheme |  | Contestable |  | 0 | 46 | Bespoke on application
SR11 | Traffic Management | Per scheme |  | Contestable |  | 0 | 46 | Bespoke on application
| Total |  |  |  |  | 0

## Sewer Connection
SEWER CONNECTION
Sewer Connection undertaken by you
No. | Description | Unit | Value | Contestable/Non contestable |  | Total | Page No | Notes
SC1 | Admin Fee | Per application | 80 | Non-contestable |  | 0 | 53
SC2 | Inspection Fee | Per connection | 219 | Non-contestable |  | 0 | 53
SC3 | Inspection Fee | Per connection | 125 | Non-contestable |  | 0 | 53
SC4 | Re-inspection Fee | Per re-inspection | 172 | Non-contestable |  | 0 | 53
Sewer Connection undertaken by the Company
No. | Description | Unit | Value | Contestable/Non contestable
SC6 | Admin Fee |  | 1984 | Non-contestable |  | 0 | 53
SC7 | Construction | Per connection |  | Contestable |  |  | 53 | Bespoke price on application
Indirect Connection
No. | Description | Unit | Value | Contestable/Non contestable | No
SC5 | Admin Fee | Per application | 42 | Non-contestable |  | 0 | 53
Total | [5 empty] | 0

## Sewer Diversion
SEWER DIVERSION
Sewer Designed and constructed by you as part of a S104
No. | Description | Unit | Value | Contestable/Non contestable | No | Total | Page No | Notes
SD1 | Administration fee - if separate application and you are undertaking the design and construction | Per application | 489 | Non-contestable |  | 0 | 56
SD2 | Design vetting fee – if separate application and you are undertaking the design and construction. | Per scheme | 367 | Non-contestable |  | 0 | 56
SD3 | Inspection fee – if separate application and you are undertaking the design and construction. | Per scheme | 991 | Non-contestable |  | 0 | 56
Sewer Designed and constructed by the company
No. | Description | Unit | Value | Contestable/Non contestable |  |  | Page No
SD4c | Admin Fee | Per application | 1984 | Non-contestable |  | 0 | 56
SD5 | Design | Per scheme | 5245 | Contestable |  | 0 | 56
SD6 | Construction | Per scheme |  | Contestable |  | 0 | 56 | Bespoke price on application.
Sewer Diversion as a small build
No. | Description | Unit | Value | Contestable/Non contestable |  |  | Page No
SD7 | Small Build including one day inspection | Per application | 519 | Non-contestable |  | 0 | 56
SD8 | Further day inspection | Per Inspection | 272 | Non-contestable |  | 0 | 56
| Total |  |  |  |  | 0

## Build Over
BUILD OVER
No. | Description | Unit | Value | No | Total | Page No
BO1 | Domestic sewer build over application | Per declaration | 84 |  | 0 | 58
BO2 | Domestic sewer build over application | Per Assessment | 200 |  | 0 | 58
BO4 | CCTV survey (up to 15 metres) |  | 304 |  | 0 | 58
BO5 | Sewer location survey | Per survey | 304 |  | 0 | 58
BO3 | Site visit (half day) | Per half day | 127 |  | 0 | 58
| Total |  |  |  | 0

## Infrastructure Charge
INFRASTRUCTURE CHARGES
No. | Description | Unit | Value | No | Total | Page No
IN3 | Standard Infrastructure charges due for the development– Water Supply | Per domestic property (please see below if not a dwelling) | 96 |  | 0 | 59
IN4 | Standard Infrastructure charges due for the development– Sewerage | Per domestic property (please see below if not a dwelling) | 707 |  | 0 | 59
| Total |  |  |  | 0
Income offsets
No. | Description | Unit | Value | No | Total | Page No
IO1 | Clean Water | Per domestic property (please see below if not a dwelling) | -397 |  | 0 | 66
IO2 | Waste Water | Per domestic property (please see below if not a dwelling) | -195 |  | 0 | 66
| Total |  |  |  | 0
Envirornmental Incentives
No. | Description | Unit | Value | No | Total | Page No
| Clean Water | Per domestic property (please see below if not a dwelling) | -72 |  | 0 | 68
| Waste Water | Not Available
| Total |  |  |  | 0

## DO NOT TOUCH
No. | Description |  | Value | Contestable/Non contestable
PD2 | Point of connection enquiry – Clean Water | Per Application | 126 | Contestable
PD3 | Point of connection enquiry – Foul Sewer | Per Application | 126 | Contestable
PD4 | Validation Charge | Per Application | 38 | Non-contestable
WR1 | Administration Fee (Water Requisition/Water Diversion) | Per scheme | 1984 | Non-contestable
SL1 | Administration Fee (Self Lay) | Per scheme | 681 | Non-contestable
SL2 | Vetting of design and approval undertaken by 3rd party. Third party must be accredited through WIRS. | Per scheme | 221 | Non-contestable
WR2 | Connection of new main to existing main excluding Band A (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and underpressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main) | Per Diverted main | 11508 | Non-contestable
WR3 | Connection of new main to existing main excluding excavation and reinstatement Band B (diameter of new main) where the connection is to an existing water distribution system and we are unable to interrupt supplies to existing customer. This connection is undertaken by using both a line stop and under-pressure tee. As there are normally two connections for a diverted main, the rate includes for two of each. (This is used on Water Diversions where you are reconnecting the new diverted apparatus to the existing water main. ) | Per Diverted main | 12692 | Non-contestable
WR4 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band A (diameter of new main) where the connection is to an existing water distribution system This connection is made using under-pressure tee only | Per connection | 1321 | Non-contestable
WR5 | Branch Connection - Connection of new main to existing main excluding excavation and reinstatement for Band B(diameter of new main) where the connection is to an existing water distribution systems. The connection is made using under-pressure tee only | Per connection | 1434 | Non-contestable
WR6 | Design of scheme | Per scheme | 1515 | Contestable
WR7 | Changes to design by the Developer/SLP following provision of quotation. (£230 up to £1515.00) | Per change |  | Contestable
WR8A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band A | Per metre | 64 | Contestable
WR9A | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band A | Per metre | 119 | Contestable
WR8B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – Non barrier pipe * Band B | Per metre | 88 | Contestable
WR9B | Pipelaying in trench provided by others in land the developer owns and occupies. Excavation and backfill to be in accordance with the ‘Conditions of Trenchwork’. – barrier pipe * Band B | Per metre | 156 | Contestable
WR10 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 134 | Contestable
WR11 | Pipelaying in Unmade Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 195 | Contestable
WR12 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains up to 100mm internal diameter. | Per metre | 238 | Contestable
WR13 | Pipelaying in Made Ground in land not owned or occupied by the Developer for new water mains above 100mm and up to 200mm internal diameter. | Per metre | 326 | Contestable
WR14 | Additional commissioning of sections should it not be done in accordance with the quotation. | Per commissioning | 2685 | Contestable
WR15 | Third party Compensation | Per scheme | 0 | Contestable
WR16 | Ecological etc. | Per scheme | 0 | Contestable
WR17 | Traffic Management | Per scheme | 0 | Contestable
NC1 | Application fee – Self Laid Connection | Per Application | 16 | Non-contestable
NC2 | Application fee – Company Laid Onsite Connection | Per Application | 16 | Non-contestable
NC3 | Application fee – Company Laid Offsite Connection | Per Application | 151 | Non-contestable
NC4 | Administration fee – Self-Laid Connections | Per Connection | 30 | Non-contestable
NC5 | Administration fee – Company Laid Onsite Connection | Per Connection | 42 | Non-contestable
NC6 | Administration fee – Company Laid Offsite Connection | Per Connection | 42 | Non-contestable
NC7A | For 1st standard connection only up to and including 32mm diameter | Per Connection | 193 | Contestable
NC9A | For 1st barrier connection only up to and including 32mm diameter | Per Connection | 272 | Contestable
NC12 | Connection(s) greater than 32mm and up to and including 63mm - Standard | Per Connection | 930 | Contestable
NC12B | Connection(s) greater than 32mm and up to and including 63mm - Barrier | Per connection | 1174 | Contestable
NC13 | Connection(s) greater than 63mm and less than 100mm | Per connection | 1475 | Non-contestable
NC13B | Barrier Connection(s) greater than 63mm and less than 100mm | Per connection | 1928 | Non-contestable
NC14 | Connection(s) 100mm and greater | Per connection | 1859 | Non-contestable
NC14B | Barrier Connection(s) 100mm and greater - | Per connection | 2312 | Non-contestable
NC15 | Supply and Fit AMR meter only (meter screw in – no connection) | Per Meter | 97 | Contestable
NC16 | Boundary Box replacement | Per box | 425 | Contestable
NC22 | Water regulations inspection | Per connection | 27 | Non-contestable
NC11 | Where we attend to make a pre-booked connection but the site is not ready for connection | Per Connection | 114 | Non-contestable
n/a | Where a customer cancels or postpones a connection all third party costs incurred will be payable by the applicant. | Per connection |  | Non-contestable
NC3b | Second and subsequent site survey/visit and/or updated quotation (offsite connections only) | Per Survey/visit | 122 | Non-contestable
NC2b | Where a customer requests a copy invoice, proforma invoice, copy of existing quotte (onsite or offsite) and/or updated onsite quote | Per item | 12 | Non-contestable
NC17A | Standard connections up to 32mm diameter and trench work up to 2m in length | Per connection | 1732 | Contestable
NC17B | Barrier connections up to 32mm diameter and trench work up to 2m in length | Per connection | 1966 | Contestable
NC18A | In addition to the first connection up 32mm diameter up to four further 25mm/32mm service pipes may be laid in the same trench and connected on the same date as the first connection. Charge covers up to 2m in length. Per meterage rate shall be applied for additional connections greater than 2m in length | Per connection | 307 | Contestable
NC18B | Barrier - In addition to the first connection up 32mm diameter up to four further 25mm/32mm service pipes may be laid in the same trench and connected on the same date as the first connection. Charge covers up to 2m in length. Per meterage rate shall be applied for additional connections greater than 2m in length | Per connection | 401 | Contestable
NC19A | Non-standard connections greater than 32mm and up to 63mm diameter and trench work up to 2mm in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 2655 | Contestable
NC19B | Barrier Non-standard connections greater than 32mm and up to 63mm diameter and trench work up to 2mm in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 2968 | Contestable
NC20A | Non-standard connections greater than 63mm and up to 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3153 | Non-contestable
NC20B | Barrier Non-standard connections greater than 63mm and up to 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3697 | Non-contestable
NC21 | Non-standard connections greater than 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 3461 | Non-contestable
NC21B | Barrier Non-standard connections greater than 100mm diameter and trench work up to 2m in length Where South West Water/Bournemouth Water undertakes the opening and closing of a trench | Per connection | 4014 | Non-contestable
NC23 | Connections greater than 2m in length In addition to each relevant offsite connection charge (above) an extra over charge for each metre greater than 2m, by surface type and diameter: Pre-excavated – up to 90mm diameter | Per metre | 129 | Contestable
NC24 | Unmade surface – up to 90mm diameter | Per metre | 163 | Contestable
NC25 | Made surface – up to 90mm diameter | Per metre | 275 | Contestable
NC26 | Pre-excavated – greater than 90mm diameter | Per metre | 197 | Contestable
NC27 | Unmade surface – greater than 90mm diameter | Per metre | 238 | Contestable
NC28 | Made surface – greater than 90mm diameter | Per metre | 356 | Contestable
SA1 | Admin Fee | Per application | 489 | Non-contestable
SA2 | Technical Vetting Fee without PS | Per property with a minimum fee | 19 | Non-contestable
SA3 | Technical Vetting Fee with PS | Per property with a minimum fee | 24 | Non-contestable
SA4 | Inspection Fee | Per property with a minimum fee. | 52 | Non-contestable
SA5 | Re-submissions for technical review | Per additional review | 367 | Non-contestable
SA6 | Re-inspections following remedials | Per inspection | 204 | Non-contestable
SA9 | Installation and commissioning of Telemtry use Radio/4G | Per installation | 6001 | Contestable
SA10 | Installation and commissioning of Telemtry use Radio/PSTN | Per installation | 7036 | Contestable
SA11 | Installation and commissioning of Telemtry use PSTN/4G | Per installation | 5328 | Contestable
SA12 | Installation and commissioning of Telemtry use 4G only (based on no option to provide a primary solution with back up comms i.e. radio and PSTN are not available. | Per installation | 4289 | Contestable
N/A | Security | Per scheme | 0 | Non-contestable
SR1 | Administration Fee | Per scheme | 1984 | Non-contestable
SR2 | Design of Connections to the public sewer network that may heighten the risk of damage to existing assets, or compromise public health and/or the environment. | Per connection |  | Non-contestable
SR3 | Connections to the public sewer network that may heighten the risk of damage to existing assets, or compromise public health and/or the environment. | Per connection | 0 | Non-contestable
SR4 | Connections to the public sewer that involve man-entry to live operational assets that necessitate special precautions to control H&S hazards (such as in combined sewers with a rapid response to rainfall). | Per connection | 0 | Non-contestable
SR5 | Design of scheme | Per scheme | 5245 | Contestable
SR6 | Changes to design by the Developer/consultant following provision of quotation. | Per change | 0 | Contestable
SR7 | Pipelaying in made ground in land not owned or occupied by the Developer. | Per metre | 1049 | Contestable
SR8 | Pipelaying in unmade ground per metre in land not owned or occupied by the Developer. | Per metre | 1049 | Contestable
SR9 | Third party compensation | Per scheme | 0 | Contestable
SR10 | Ecological etc. | Per scheme | 0 | Contestable
SR11 | Traffic Management | Per scheme | 0 | Contestable
SC1 | Admin Fee | Per application | 80 | Non-contestable
SC2 | Inspection Fee (Visit) | Per connection | 219 | Non-contestable
SC3 | Inspection Fee (Virtual) | Per connection | 125 | Non-contestable
SC4 | Re-inspection Fee | Per re-inspection | 172 | Non-contestable
SC6 | Admin Fee |  | 1984 | Non-contestable
SC7 | Construction | Per connection | 0 | Contestable
SC5 | Admin Fee | Per application | 42 | Non-contestable
SD1 | Administration fee - if separate application and you are undertaking the design and construction | Per application | 489 | Non-contestable
SD2 | Design vetting fee – if separate application and you are undertaking the design and construction. | Per scheme | 367 | Non-contestable
SD3 | Inspection fee – if separate application and you are undertaking the design and construction. | Per scheme | 991 | Non-contestable
SD4c | Admin Fee | Per application | 1984 | Non-contestable
SD5 | Design | Per scheme | 5245 | Contestable
SD6 | Construction | Per scheme | 0 | Contestable
SD7 | Small Build including one day inspection | Per application | 519 | Non-contestable
SD8 | Further day inspection | Per Inspection | 272 | Non-contestable
BO1 | Domestic sewer build over application | Per declaration | 84 | Non-contestable
BO2 | Domestic sewer build over application | Per Assessment | 200 | Non-contestable
BO4 | CCTV survey (up to 15 metres) |  | 304 | Non-contestable
BO5 | Sewer location survey | Per survey | 304 | Non-contestable
BO3 | Site visit (half day) | Per half day | 127 | Non-contestable
IN3 | Standard Infrastructure charges due for the development– Water Supply | Per domestic property (please see below if not a dwelling) | 96 | Non-contestable
IN4 | Standard Infrastructure charges due for the development– Sewerage | Per domestic property | 707 | Non-contestable
IO1 | Income offset (Clean) | Per domestic property | -397 | Non-contestable
IO2 | Income offset (Waste) | Per domestic property | -195 | Non-contestable
0 | Clean Water | Per domestic property (please see below if not a dwelling) | -72 | Non-contestable
| Waste Water | Not Available | 0 | Non-contestable
Totals
Note on B34: Harris, Neal R: New Charge(s)
Note on B42: Crawford, Trevor: New Charge for 20/21.